CAS POSSCALE UTILITY PROGRAM

---------------------------------------------------

You can use this program to set scale settings like

RS baud rate, header/footer texts, autooff time,

set real time clock and many others...

You can use this program to create PLUs data base,

save it to disk and load/store it to the scale.

You can also make calibration settings (only if you

are in calibration mode).

You can use the TERMINAL to direct communicate with

the scale.

The first think that you must make is to connect

the scale to some comport of the PC. The next you

must choice the correct comport and baud rate from

appropriated buttons, and press the button CONNECT.

If everything is correct the caption of the button

CONNECT will be stay DISCONNECT and the green

circle right from it will be stay light-green.

In this case you can use all other properties

of program.

GOOD LUCK